## Cover Page
2016 Risk Assessment Mitigation Phase
Investigation 16-10-016
Risk Spend Efficiency Workpapers to
Catastrophic Damage Involving a High-Pressure Gas Pipeline Failure
(Chapter SCG-4-WP-RSE)
January 2017

## Analysis
SCG - Catastrophic Damage Involving Gas Transmission Pipeline Failure
[11 empty] | 2017-2019 SUM Capital | 2017-2019 SUM OM
Baseline Residual Risk | [9 empty] | TIMP | 151020000 | 131856000
Adjustment Factor | Score Category | Original | Original Baseline | [6 empty] | IC Storage | 25118941.2156 | 11110956.1406
1 | Frequency | 0.057735 | 36950.4172 | [6 empty] | PSEP | 487000000 | 150000000
| Safety Consequence | 6 | [7 empty] | Training | 0 | 1298864.6743
| Reliability Consequence | 5 | [7 empty] | Policies | 30000 | 6039000
| Compliance Consequence | 5 | [7 empty] | Systems | 20510715.0722 | 23055515.8714
| Financial Consequence | 6
[12 empty] | Baseline |  | 0.057735 | 6 | 5 | 5 | 6
[7 empty] | (000s) | [7 empty] | 40% | 20% | 20% | 20% | New Consequence Scores, weighted
| Controls | Enable |  | Project ID | Name | Description | Capital Cost (2017-2019) | OM Cost (2017-2019 average) | Annuity | New/Existing | Life of the Project | Rationale | Frequency % | New Frequency | Safety | Reliability | Compliance | Financial | Safety | Reliability | Compliance | Financial | New Score | New Score (for life of project) | Mitigation Weight | Weighted New Score | Cost | RSE | Rank
| Adjusted Baseline | 0 |  | B1 | Transmission Integrity Management Program is closely Monitored and given high priority. Frequest audits are conducted. | In-Line Inspection (ILI) | -180453 | -49776.5 | -34660.0411 | Existing | 7 | Incident rate shifts to worst state performance and 3/7 of the assets are being mitigated | -966.8003 | 0.61592 | 0 | 0 | 0 | 0 | 400000 | 20000 | 20000 | 200000 | 394187.1563 | -2500657.1733 | 100% | -2500657.1733 | -528888.5 | 4.7281 | 3
| Weights on Each Mitigation | 0 |  |  |  | External Corrosion Direct Assesment (ECDA)
| Annuity instead of Capital Cost | 0 |  |  |  | Threat and Risk Assessment
| Adjustment Factor | 0 |  |  |  | Integrity Assessments
Preventative and Mitigation Measures
[5 empty] | Internal Corrosion plan has been launched within Storage Operations. | Maintenance of High Pressure Storage Lines
Condition Based Maximo Work Orders
Internal Corrosion Consultants
Internal Corrosion Monitoring Equipment
|  |  |  | B2 | Approved PSEP program to test or replace High Consequence Area High Pressure pipelines that do not meet current records criteria. Program has continuous monitoring and priortizing of lines with timely completion of remediation. | High Pressure Pipeline Replacement | -487000 | -61750 | -39244.8805 | Existing | 64 | Incident rate shifts to worst state performance and 100 miles per year are done over 3 years | -105.7585 | 0.11879 | 0 | 0 | 0 | 0 | 400000 | 20000 | 20000 | 200000 | 76028.6273 | -2501005.4437 | 100% | -2501005.4437 | -4439000 | 0.56342 | 4
| Probability |  |  |  |  | High Pressure Pipeline Hydrotesting
| 7 | 31.6228 |  |  |  | High Pressure Pipeline Record Search
| 6 | 3.1623 |  |  |  | Transmission Valve Automation and Replacement
| 5 | 0.57735 |  | B3 | Employees are comprehensively trained (e.g., operator qualified) to perform compliance inspections. | Transmission Pipeline Technician Training | -30 | -2434 | -32.4 | Existing | 1 | Incorrect operations goes to worst state performance (a third of the way) and is compared against current performance | -91.4492 | 0.11053 | 0 | 0 | 0 | 0 | 400000 | 20000 | 20000 | 200000 | 70741.2869 | -33790.8697 | 100% | -33790.8697 | -2464 | 13.7138 | 2
| 4 | 0.18257 |  |  |  | Transmission Pipeline Specialist Training
| 3 | 0.057735 |  |  |  | Transmission Welding Specialist Training
| 2 | 0.018257 |  |  |  | Transmission Cathodic Protection Specialist Training
| 1 | 0.0057735 |  |  |  | Transmission Senior Cathodic Protection Specialist Training
Distribution Construction Technician Training
Distribution Energy Technician Distribution Training
Distribution Lead Construction Technician Training
Distribution System Protection Specialist Training
Distribution Lead System Protection Specialist Training
[5 empty] | Policies in place to comply with Federal and State regulations regarding inspections, repair schedules, and repair methods. | Operations Emergency Preparedness
Quality Assurance Quality Control (QAQC)
Odorization
|  |  |  | B4 | Systems are in place to monitor and manage compliance activity schedules. | High Pressure Transmission Line Watch Dog | -34893 | -23498 | -3553.9291 | Existing | 20 | Applicable causes drift to worst state and are compared against current performance | -4513.981 | 2.6639 | 0 | 0 | 0 | 0 | 400000 | 20000 | 20000 | 200000 | 1704885.2343 | -33358696.342 | 100% | -33358696.342 | -504853 | 66.0761 | 1
Pipeline Patrol - Ground
Pipeline Patrol - Aerial
Transmission Cathodic Protection
Bridge & Span Inspections
Meter Inspections & Maint
Valve Maintenance and Installation (Transmission)
Valve Maintenance and Installation (Distribution High Pressure)
Regulator Station Inspection and Maintenance
Locate and Mark
Utility Conflict Review
Data Integration (HPPD)
GO 112F Items

## Data
| Data for mitigation B1 |  | TIMP | Graph 2
500 | How many miles addressed per year? |  |  | 7 year span - This is an average due to some miles being harder to inspect then others
3485 | How many total miles? |  |  | 1284 are HCA Miles of 3485 Total SCG Transmission Miles
0 | Current incident rate where cause is corrosion or material/weld/pipe, significant incidents per million people per year
1.1199 | Incident rate shifted to worst state performance
24.1898 | Expected number of incidents per year at the highest incident rate |  |  |  |  | 0.43042
1.0769 | Incidents per year from all causes (2010-2016 PHMSA data) |  |  |  |  | 0.14347
3.2227
| Data for mitigation B2 |  | PSEP | Graph 3
100 | How many miles remedied per year? |  |  | Current Estimate for Phase 2 is 100mi/year |  |  | Go Forward Basis
1100 | How many total miles at risk? |  |  | Does not include modern standards |  |  | Includes 47 miles PSRP, and 70 miles L85
0 | Current incident rate where cause is corrosion or material/weld/pipe or equipment or other, significant incidents per million people per year
0.19334 | Incident rate shifted to national average |  |  |  |  | 0.27273
4.1761 | Expected number of incidents per year at the highest incident rate |  |  |  |  | 0.090909
1.0769 | Incidents per year from all causes (2010-2016 PHMSA data) |  |  |  |  | 0.35253
| Data for mitigation B3 |  | Training |  | Graph 1
0.014722 | Current incident rate where cause is incorrect operations, significant incidents per million people per year
0.15151 | Incident rate shifted to worst state performance
2.9545 | Expected number of incidents per year at the highest incident rate
1.0769 | Incidents per year from all causes (2010-2016 PHMSA data) |  |  |  |  | 2.7435
| Data for mitigation B4 |  | Systems |  | Graph 4
0.036805 | Current incident rate where cause is not incorrect operations or forces, significant incidents per million people per year
2.2874 | Incident rate shifted to worst state performance
48.6121 | Expected number of incidents per year at the highest incident rate |  |  |  |  | 45.1398
1.0769 | Incidents per year from all causes (2010-2016 PHMSA data)
Graph 1
Incorrect Operations
| State | Per million per year
| AK | 0
| AL | 0
| AZ | 0
| CT | 0
| DE | 0
| HI | 0
| IN | 0
| ME | 0
| MD | 0
| MO | 0
| MT | 0
| ND | 0
| NH | 0
| OR | 0
| RI | 0
| SC | 0
| SD | 0
| UT | 0
| VA | 0
| VT | 0
| WI | 0
| WV | 0
| WY | 0
| NJ | 0
| NY | 0
| TN | 0
| CO | 0
| NC | 0
| GA | 0
| MA | 0
| NV | 0
| KS | 0
| DC | 0
| SDGE | 0
| PA | 0.012112
| OH | 0.013336
| SCG | 0.014722
| FL | 0.016365
| National | 0.016942
| CA | 0.020648
| WA | 0.022878
| TX | 0.024473
| MN | 0.029006
| KY | 0.035454
| IL | 0.035972
| OK | 0.041011
| MI | 0.046697
| MS | 0.051847
| AR | 0.052761
| NM | 0.074712
| NE | 0.084237
| ID | 0.098142
| LA | 0.10181
| IA | 0.15151
Graph 2
Transmission - corrosion, material/weld/pipe
| State | Per million per year
| ME | 0
| VT | 0
| NH | 0
| HI | 0
| RI | 0
| OR | 0
| SD | 0
| DE | 0
| MD | 0
| DC | 0
| MT | 0
| ND | 0
| SC | 0
| NC | 0
| NV | 0
| VA | 0
| WA | 0
| MA | 0
| IL | 0
| GA | 0
| UT | 0
| NM | 0
| SDGE | 0
| SCG | 0
| NY | 0.0079392
| FL | 0.016365
| NJ | 0.017499
| CA | 0.028908
| CT | 0.043045
| IN | 0.047456
| IA | 0.050502
| WI | 0.054105
| PA | 0.060558
| AL | 0.064374
| KY | 0.070907
| National | 0.081222
| WV | 0.083026
| MN | 0.087018
| CO | 0.091772
| OH | 0.093349
| AZ | 0.096274
| TN | 0.09697
| MO | 0.10275
| AR | 0.10552
| MI | 0.15566
| TX | 0.18966
| ID | 0.19628
| AK | 0.21661
| NE | 0.25271
| OK | 0.28708
| KS | 0.32353
| WY | 0.54592
| MS | 0.72586
| LA | 1.1199
Graph 3
Transmission - corrosion, material, equipment, other
| State | Per million per year
| ME | 0
| VT | 0
| NH | 0
| HI | 0
| RI | 0
| OR | 0
| SD | 0
| DE | 0
| MD | 0
| DC | 0
| SC | 0
| NC | 0
| NV | 0
| SDGE | 0
| SCG | 0
| FL | 0.016365
| VA | 0.019228
| WA | 0.022878
| MA | 0.023496
| IL | 0.023981
| NJ | 0.034997
| CT | 0.043045
| CA | 0.066075
| GA | 0.079403
| WI | 0.081157
| NY | 0.087331
| IN | 0.094911
| AZ | 0.096274
| OH | 0.14669
| MO | 0.15413
| PA | 0.15745
| AL | 0.19312
| National | 0.19334
| CO | 0.21413
| AK | 0.21661
| TN | 0.21818
| UT | 0.22265
| MN | 0.23205
| NE | 0.25271
| ID | 0.29443
| NM | 0.29885
| MT | 0.31098
| MI | 0.34245
| IA | 0.35351
| KY | 0.35454
| TX | 0.42216
| AR | 0.47485
| KS | 0.64707
| WV | 0.91328
| OK | 1.1073
| ND | 1.1437
| MS | 1.2962
| LA | 1.7986
| WY | 2.1837
Graph 4
Transmission - corrosion, material, equipment, other, excavation
| State | Per million per year
| ME | 0
| VT | 0
| NH | 0
| HI | 0
| RI | 0
| OR | 0
| SD | 0
| DE | 0
| MD | 0
| DC | 0
| SC | 0
| SDGE | 0
| VA | 0.019228
| WA | 0.022878
| MA | 0.023496
| FL | 0.024548
| SCG | 0.036805
| CT | 0.043045
| NC | 0.048402
| NJ | 0.052496
| NV | 0.056968
| IL | 0.071943
| NY | 0.087331
| IN | 0.094911
| AZ | 0.096274
| WI | 0.10821
| GA | 0.14293
| MO | 0.15413
| PA | 0.15745
| CA | 0.16106
| OH | 0.1867
| AK | 0.21661
| UT | 0.22265
| AL | 0.22531
| TN | 0.24243
| National | 0.24566
| CO | 0.27532
| ID | 0.29443
| MT | 0.31098
| MN | 0.31907
| NE | 0.33695
| MI | 0.35801
| NM | 0.44827
| KY | 0.49635
| TX | 0.52005
| IA | 0.70702
| KS | 0.80883
| AR | 0.89693
| WV | 1.0793
| OK | 1.2713
| MS | 1.348
| LA | 1.9004
| WY | 2.1837
| ND | 2.2874

## Reference
| 1 - Risk Starting Value Lookup Question | AA1 Frequency | AA2 Safety Consequence | AA3 Reliability Consequence | AA4 Compliance Consequence | AA5 Financial Consequence | AA6 Baseline Risk Score | Calculated Baseline | Probability |  |  | Consequence
1 | SCG - Cyber Security | 0.18257 | 4 | 6 | 5 | 5 | 44548.1013 | 44548.1013 | 7 | 31.6228 | 7 | 7 | 10000000
2, 8 | SDGE - Climate Change Adaptation | 0.057735 | 4 | 5 | 4 | 5 | 2655.8112 | 2655.8112 | 6 | 3.1623 | 6 | 6 | 1000000
3 | SCG - Employee, Contractor, Customer and Public Safety | 0.57735 | 6 | 4 | 3 | 4 | 233364.9788 | 233364.9788 | 5 | 0.57735 | 5 | 5 | 100000 |  |  | Before
4 | SCG - Records Management | 0.057735 | 5 | 5 | 5 | 4 | 4734.2722 | 4734.2722 | 4 | 0.18257 | 4 | 4 | 10000 |  |  | Safety | [7 empty] | Compliance
5 | SCG - Workforce Planning | 0.57735 | 4 | 4 | 4 | 4 | 5773.5027 | 5773.5027 | 3 | 0.057735 | 3 | 3 | 1000 | Frequency | 7 | [7 empty] | 7
6 | SCG - Workplace Violence | 0.057735 | 6 | 1 | 2 | 3 | 23106.8279 | 23106.8279 | 2 | 0.018257 | 2 | 2 | 100 |  | 6 | [7 empty] | 6
7 | SDGE - Cyber Security | 0.18257 | 4 | 6 | 5 | 5 | 44548.1013 | 44548.1013 | 1 | 0.0054772 | 1 | 1 | 10 |  | 5 | [7 empty] | 5
9 | SDGE - Employee, Contractor & Public Safety | 0.18257 | 6 | 4 | 4 | 3 | 73796.4859 | 73796.4859 | [6 empty] | 4 | [7 empty] | 4
10 | SDGE - Records Management | 0.057735 | 5 | 5 | 5 | 4 | 4734.2722 | 4734.2722 | Weights | [5 empty] | 3 |  |  |  |  | 1 |  |  | 3 |  |  | 1
11 | SDGE - Workforce Planning | 0.057735 | 4 | 3 | 3 | 2 | 255.1888 | 255.1888 | 40% | Safety |  |  |  |  | 2 | [7 empty] | 2
12 | SDGE - Workplace Violence | 0.057735 | 6 | 1 | 2 | 3 | 23106.8279 | 23106.8279 | 20% | Reliability |  |  |  |  | 1 | [7 empty] | 1
13 | SDGE - Aviation Incident | 0.057735 | 6 | 2 | 2 | 3 | 23107.8672 | 23107.8672 | 20% | Compliance | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
14 | SDGE - Distributed Energy Resources (DERs) Safety and Operational Concerns | 0.18257 | 6 | 3 | 3 | 3 | 73139.2188 | 73139.2188 | 20% | Financial | [5 empty] | Impact | [7 empty] | Impact
15 | SDGE - Electric Infrastructure Integrity | 0.18257 | 4 | 4 | 5 | 4 | 5112.0772 | 5112.0772
16 | SDGE - Fail to Black Start | 0.018257 | 6 | 7 | 5 | 5 | 44548.1013 | 44548.1013 | [7 empty] | Reliability | [7 empty] | Finance
17 | SDGE - Major Disturbance to Electrical Service (e.g. Blackout) | 0.018257 | 6 | 7 | 5 | 5 | 44548.1013 | 44548.1013 | [5 empty] | Frequency | 7 | [7 empty] | 7
18 | SDGE - Public Safety Events - Electric | 0.057735 | 5 | 3 | 3 | 3 | 2344.0421 | 2344.0421 | [6 empty] | 6 | [7 empty] | 6
19 | SDGE - Unmanned Aircraft System (UAS) Incident | 0.018257 | 6 | 4 | 3 | 4 | 7379.6486 | 7379.6486 | [6 empty] | 5 | [7 empty] | 5
20 | SDGE - Wildfires caused by SDG&E Equipment (including 3rd Party Pole Attachments) | 0.57735 | 7 | 6 | 5 | 6 | 2551888.1898 | 2551888.1898 | [6 empty] | 4 | [7 empty] | 4
21 | SCG - Catastrophic Damage involving Gas Infrastructure (Dig-Ins) | 0.57735 | 6 | 4 | 3 | 4 | 233364.9788 | 233364.9788 | [6 empty] | 3 |  |  | 1 |  |  |  |  | 3 |  |  | 1
22 | SCG - Catastrophic Damage Involving Gas Transmission Pipeline Failure | 0.057735 | 6 | 5 | 5 | 6 | 36950.4172 | 36950.4172 | [6 empty] | 2 | [7 empty] | 2
23 | SCG - Catastrophic Damage involving Medium and Non-DOT Pipeline Failure | 0.057735 | 5 | 3 | 3 | 3 | 2344.0421 | 2344.0421 | [6 empty] | 1 | [7 empty] | 1
24 | SCG - Catastrophic Event related to Storage Well Integrity | 0.018257 | 5 | 5 | 5 | 5 | 1825.7419 | 1825.7419 | [7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
25 | SCG - Physical Security of Critical Infrastructure | 0.057735 | 5 | 6 | 4 | 4 | 14087.3466 | 14087.3466 | [7 empty] | Impact | [7 empty] | Impact
26 | SDGE - Catastrophic Damage involving Gas Infrastructure (Dig-Ins) | 0.57735 | 6 | 4 | 3 | 4 | 233364.9788 | 233364.9788
27 | SDGE - Catastrophic Damage Involving Gas Transmission Pipeline Failure | 0.018257 | 6 | 4 | 5 | 6 | 11356.1144 | 11356.1144 | [7 empty] | After
28 | SDGE - Catastrophic Damage Involving Medium and non-DOT Pipeline Failure | 0.057735 | 5 | 3 | 3 | 3 | 2344.0421 | 2344.0421 | [7 empty] | Safety | [7 empty] | Compliance
| SDGE - Violation of Environmental Policies/Procedures | 0.057735 | 4 | 1 | 5 | 4 | 1501.2262 | 1501.2262 | [5 empty] | Frequency | 7 | [7 empty] | 7
[15 empty] | 6 | [7 empty] | 6
[15 empty] | 5 | [7 empty] | 5
[15 empty] | 4 | [7 empty] | 4
[15 empty] | 3 |  |  |  |  | 1 |  |  | 3 |  |  | 1
[15 empty] | 2 | [7 empty] | 2
[15 empty] | 1 | [7 empty] | 1
[16 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
[16 empty] | Impact | [7 empty] | Impact
[16 empty] | Reliability | [7 empty] | Finance
[14 empty] | Frequency | 7 | [7 empty] | 7
[15 empty] | 6 | [7 empty] | 6
[15 empty] | 5 | [7 empty] | 5
[15 empty] | 4 | [7 empty] | 4
[15 empty] | 3 |  |  | 1 |  |  |  |  | 3 |  |  | 1
[15 empty] | 2 | [7 empty] | 2
[15 empty] | 1 | [7 empty] | 1
[16 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
[16 empty] | Impact | [7 empty] | Impact