## Cover Page
2016 Risk Assessment Mitigation Phase
Investigation 16-10-015
Risk Spend Efficiency Workpapers to
Distributed Energy Resources - Safety and Operational Concerns
(Chapter SDG&E-4-WP-RSE)
January 2017

## Analysis
Risk | SDGE - Distributed Energy Resources (DERs) Safety and Operational Concerns
Baseline Residual Risk
Adjustment | Score Category | Scores | Original Baseline
0.056954 | Frequency | 0.18257 | 73139.2188
| Safety Consequence | 6
| Reliability Consequence | 3
| Compliance Consequence | 3
| Financial Consequence | 3
Score has been adjusted to account for baseline first responder training and removal of operations risks
[13 empty] | Baseline | 0.18257 | 6 | 3 | 3 | 3
[7 empty] | (000s) | [7 empty] | 40% | 20% | 20% | 20% | New Consequence Scores, weighted | [10 empty] | Ordered Mitigations | Ordered Cumulative Benefit | Ordered Cumulative Cost | Benefit/Cost Ratio | Risk
| Controls | Enable |  | Project ID | Name | Description | Capital Cost (2017-2019) | OM Cost (2017-2019 average) | Annuity | New/Existing | Life of the Project | Rationale | Frequency % | New Frequency | Safety | Reliability | Compliance | Financial | Safety | Reliability | Compliance | Financial | New Score | New Score (for life of project) | Mitigation Weight | Adjusted, Weighted New Score | Cost | RSE | Rank |  | 0 | 0
| Adjusted Baseline | 0 |  | P1 | Enhanced First Responder Training | • Aggressive outreach program to educate first responders on DER types, characteristics, and potential hazards • Virtual application process and approvals • Safety Placards (No additional cost) |  | 400 |  | New | 1 | Estimate: extended training will reduce injuries due to improper placards at rogue installations by 40%. Applies to estimated prevalence of 0.0036 events per year. | 13.7971 | 0.15738 | 0 | 0 | 0 | 0 | 400000 | 200 | 200 | 200 | 63048.1428 | 10091.0761 |  | 574.7313 | 400 | 1.4368 | 3 | B3 | 12141.1979 | 859 | 14.1341 | B3 - Placard compliance enforcement
| Weights on Each Mitigation | 0 |  | B3 | Placard compliance enforcement | Inspections, locating rogue meters through backflow detection and resolving within 4-8 weeks |  | -859 |  | Existing | 1 | Current programs hold estimated rogue installations with improper placards to a residual level of 440 locations at any given time. Abandoning the program would allow rogue installations to accumulate at 100 per week, an approximately 850% increase, applied to the estimated 0.0036 events per year. | -291.4633 | 0.71471 | 0 | 0 | 0 | 0 | 400000 | 200 | 200 | 200 | 286313.2011 | -213173.9822 |  | -12141.1979 | -859 | 14.1341 | 1 | P2 | 12684.8694 | 1109 | 2.1747 | P2 - Inspect DER installations for islanding issues
| Annuity instead of Capital Cost | 0 |  | B1-B2 | Interconnection studies and modeling |  | -900 | -75 |  | Existing | 1 | Estimate: studies and modeling hold SDGE to a rate of 0.1% of circuits (e.g. almost non-existant) where a locked out circuit would have sufficient DER-source energy to remain energized as an island, and without the studies and modeling this rate would rise to 50%, creating a potential hazard in each of the 260 lockouts per year. The baseline risk associated with the 0.1% rate is 0.00003 injuries per year (owing to the proper use of PPE and safe work procedures). | -25.0038 | 0.22822 | 0 | 0 | 0 | 0 | 400000 | 200 | 200 | 200 | 91426.8289 | -18287.61 |  | -1041.56 | -975 | 1.0683 | 4 | P1 | 13259.6006 | 1509 | 1.4368 | P1 - Enhanced First Responder Training
| Adjustment Factor | 1 |  | P2 | Inspect DER installations for islanding issues | Inspect 20% of DER installations annually to identify potential Islanding issues. |  | 250 |  | New | 1 | Estimate: SDGE experiences ~1,900 outages per year with an average of 500 customers per outage. DER penetration rates yields 36 DER installations per typical outage, of which an assumed 0.1% would fail to prevent islanding. Owing to adherence to PPE and work protection procedures, this is expected to result in 0.0068 injuries per year. Inspecting 20% per year would address. | 13.0515 | 0.15875 | 0 | 0 | 0 | 0 | 400000 | 200 | 200 | 200 | 63593.4883 | 9545.7305 |  | 543.6714 | 250 | 2.1747 | 2 | B1-B2 | 14301.1606 | 2484 | 1.0683 | B1-B2 - Interconnection studies and modeling
| Probability |  | Description
| 7 | 31.6228 | >10 times per year
| 6 | 3.1623 | 1-10 times per year | [27 empty] | 2 | 1.4368
| 5 | 0.57735 | Once every 1-3 years | [27 empty] | 10 | 7.1841
| 4 | 0.18257 | Once every 3-10 years | [27 empty] | 20 | 14.3683
| 3 | 0.057735 | Once every 10-30 years | [27 empty] | 30 | 21.5524
| 2 | 0.018257 | Once every 30-100 years | [27 empty] | 40 | 28.7366
| 1 | 0.0054772 | Once every 100+ years | [27 empty] | 50 | 35.9207
| 4 | 5.4772 | years
| 3 | 17.3205 | years

## Mitigations
B1 | Performing voltage/power quality studies of large DER interconnectors (>=1MW) to identify potential negative impacts and mitigation
B2 | Implement improved modeling tools that incorporate PV generation into forecasts for distribution planning and operations power flow models
P1 | Aggressive outreach program to educate first responders on DER types, characteristics, and potential hazards
B3 | Clear and concise safety placards posted with each installed DER
P2 | Anti-islanding testing program

## Analyis_Old (hidden)
Project ID | Name |  | Capital Cost (Life of Project) | OM Cost (Annual) | New/Existing | Life of the Project | Cost per Life of Project ($000) | BC Ratio | Derived Benefit Scores | Order | Plot Projects | Benefits | Costs
B3 (P) | Safety Placards | Clear and concise safety placards posted with each installed DER | 0 | 0 | New | 1 | 0 | 1.4368 | 0 | 1 |  | 0 | 0
P1 | First Responder Awareness | Aggressive outreach program to educate first responders on DER types, characteristics, and potential hazards |  | 20 | New | 1 | 20 | 1.4368 | 28.7366 | 2 | B3 (P) | 0 | 0
P2 | Virtual Application Process | Virtual application process and approvals |  |  | New | 1 | 0 | 1.4368 | 0 | 3 | P1 | 28.7366 | 20
[11 empty] | P2 | 28.7366 | 20
14.1341
Combined Programs |  | New/Existing | New Score (for life of project) | Cost | RSE | Derived Benefit Score | Rank
0 | 0 | 0 | 0 | 0 | 0 |  | 0
P1 | 0 | New | 1 | 0 | 14.1341 | 0 | 1
B1 Existing | Safety Placards First Responder Awareness Virtual Application Process | Existing | 1 | 20 | 1.4368 | 28.7366 | 2
B1 Proposed |  | New | 1 | 0 | 0 | 0 | 3

## Reference
| 1 - Risk Starting Value Lookup Question | AA1 Frequency | AA2 Safety Consequence | AA3 Reliability Consequence | AA4 Compliance Consequence | AA5 Financial Consequence | AA6 Baseline Risk Score | Calculated Baseline | Probability |  |  | Consequence
1 | SCG - Cyber Security | 0.18257 | 4 | 6 | 5 | 5 | 44548.1013 | 44548.1013 | 7 | 31.6228 | 7 | 7 | 10000000
2, 8 | SDGE - Climate Change Adaptation | 0.057735 | 4 | 5 | 4 | 5 | 2655.8112 | 2655.8112 | 6 | 3.1623 | 6 | 6 | 1000000
3 | SCG - Employee, Contractor, Customer and Public Safety | 0.57735 | 6 | 4 | 3 | 4 | 233364.9788 | 233364.9788 | 5 | 0.57735 | 5 | 5 | 100000 |  |  | Before
4 | SCG - Records Management | 0.057735 | 5 | 5 | 5 | 4 | 4734.2722 | 4734.2722 | 4 | 0.18257 | 4 | 4 | 10000 |  |  | Safety | [7 empty] | Compliance
5 | SCG - Workforce Planning | 0.57735 | 4 | 4 | 4 | 4 | 5773.5027 | 5773.5027 | 3 | 0.057735 | 3 | 3 | 1000 | Frequency | 7 | [7 empty] | 7
6 | SCG - Workplace Violence | 0.057735 | 6 | 1 | 2 | 3 | 23106.8279 | 23106.8279 | 2 | 0.018257 | 2 | 2 | 100 |  | 6 | [7 empty] | 6
7 | SDGE - Cyber Security | 0.18257 | 4 | 6 | 5 | 5 | 44548.1013 | 44548.1013 | 1 | 0.0054772 | 1 | 1 | 10 |  | 5 | [7 empty] | 5
9 | SDGE - Employee, Contractor & Public Safety | 0.18257 | 6 | 4 | 4 | 3 | 73796.4859 | 73796.4859 | [6 empty] | 4 | [7 empty] | 4
10 | SDGE - Records Management | 0.057735 | 5 | 5 | 5 | 4 | 4734.2722 | 4734.2722 | Weights | [5 empty] | 3 |  |  |  |  | 1 |  |  | 3 |  |  | 1
11 | SDGE - Workforce Planning | 0.057735 | 4 | 3 | 3 | 2 | 255.1888 | 255.1888 | 40% | Safety |  |  |  |  | 2 | [7 empty] | 2
12 | SDGE - Workplace Violence | 0.057735 | 6 | 1 | 2 | 3 | 23106.8279 | 23106.8279 | 20% | Reliability |  |  |  |  | 1 | [7 empty] | 1
13 | SDGE - Aviation Incident | 0.057735 | 6 | 2 | 2 | 3 | 23107.8672 | 23107.8672 | 20% | Compliance | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
14 | SDGE - Distributed Energy Resources (DERs) Safety and Operational Concerns | 0.18257 | 6 | 3 | 3 | 3 | 73139.2188 | 73139.2188 | 20% | Financial | [5 empty] | Impact | [7 empty] | Impact
15 | SDGE - Electric Infrastructure Integrity | 0.18257 | 4 | 4 | 5 | 4 | 5112.0772 | 5112.0772
16 | SDGE - Fail to Black Start | 0.018257 | 6 | 7 | 5 | 5 | 44548.1013 | 44548.1013 | [7 empty] | Reliability | [7 empty] | Finance
17 | SDGE - Major Disturbance to Electrical Service (e.g. Blackout) | 0.018257 | 6 | 7 | 5 | 5 | 44548.1013 | 44548.1013 | [5 empty] | Frequency | 7 | [7 empty] | 7
18 | SDGE - Public Safety Events - Electric | 0.057735 | 5 | 3 | 3 | 3 | 2344.0421 | 2344.0421 | [6 empty] | 6 | [7 empty] | 6
19 | SDGE - Unmanned Aircraft System (UAS) Incident | 0.018257 | 6 | 4 | 3 | 4 | 7379.6486 | 7379.6486 | [6 empty] | 5 | [7 empty] | 5
20 | SDGE - Wildfires caused by SDG&E Equipment (including 3rd Party Pole Attachments) | 0.57735 | 7 | 6 | 5 | 6 | 2551888.1898 | 2551888.1898 | [6 empty] | 4 | [7 empty] | 4
21 | SCG - Catastrophic Damage involving Gas Infrastructure (Dig-Ins) | 0.57735 | 6 | 4 | 3 | 4 | 233364.9788 | 233364.9788 | [6 empty] | 3 |  |  | 1 |  |  |  |  | 3 |  |  | 1
22 | SCG - Catastrophic Damage Involving Gas Transmission Pipeline Failure | 0.057735 | 6 | 5 | 5 | 6 | 36950.4172 | 36950.4172 | [6 empty] | 2 | [7 empty] | 2
23 | SCG - Catastrophic Damage involving Medium and Non-DOT Pipeline Failure | 0.057735 | 5 | 3 | 3 | 3 | 2344.0421 | 2344.0421 | [6 empty] | 1 | [7 empty] | 1
24 | SCG - Catastrophic Event related to Storage Well Integrity | 0.018257 | 5 | 5 | 5 | 5 | 1825.7419 | 1825.7419 | [7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
25 | SCG - Physical Security of Critical Infrastructure | 0.057735 | 5 | 6 | 4 | 4 | 14087.3466 | 14087.3466 | [7 empty] | Impact | [7 empty] | Impact
26 | SDGE - Catastrophic Damage involving Gas Infrastructure (Dig-Ins) | 0.57735 | 6 | 4 | 3 | 4 | 233364.9788 | 233364.9788
27 | SDGE - Catastrophic Damage Involving Gas Transmission Pipeline Failure | 0.018257 | 6 | 4 | 5 | 6 | 11356.1144 | 11356.1144 | [7 empty] | After
28 | SDGE - Catastrophic Damage Involving Medium and non-DOT Pipeline Failure | 0.057735 | 5 | 3 | 3 | 3 | 2344.0421 | 2344.0421 | [7 empty] | Safety | [7 empty] | Compliance
| SDGE - Violation of Environmental Policies/Procedures | 0.057735 | 4 | 1 | 5 | 4 | 1501.2262 | 1501.2262 | [5 empty] | Frequency | 7 | [7 empty] | 7
[15 empty] | 6 | [7 empty] | 6
[15 empty] | 5 | [7 empty] | 5
[15 empty] | 4 | [7 empty] | 4
[15 empty] | 3 |  |  |  |  | 1 |  |  | 3 |  |  | 1
[15 empty] | 2 | [7 empty] | 2
[15 empty] | 1 | [7 empty] | 1
[16 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
[16 empty] | Impact | [7 empty] | Impact
[16 empty] | Reliability | [7 empty] | Finance
[14 empty] | Frequency | 7 | [7 empty] | 7
[15 empty] | 6 | [7 empty] | 6
[15 empty] | 5 | [7 empty] | 5
[15 empty] | 4 | [7 empty] | 4
[15 empty] | 3 |  |  | 1 |  |  |  |  | 3 |  |  | 1
[15 empty] | 2 | [7 empty] | 2
[15 empty] | 1 | [7 empty] | 1
[16 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
[16 empty] | Impact | [7 empty] | Impact

## Methodology
Fire Injury - placards and general awareness
(A) | 14971 | Estimates based on SDFD Call volume, extrapolate to full SDGE Territory
(B) | 4.7052 | Multiply (A) by ratio of estimated premises with rogue DER to SDGE meter count | 0.03143% |  | Structure Fire Contribution
(C) | 0.0035867 | Multiply (B) by likelihood that an injury will be caused to first responders operating without knowledge of rogue DER | 0.07623% |  | 0.34493 | contSF
278.8086
[5 empty] | Reduction due to Training: | 40%
0.0035867
Utility Injury - Islanding
(A) | 1900 | Estimates based on OMS Data
(B) | 67.8571 | Multiply (A) by average customers per outage, penetration rate of DER, and likelihood that an uninspected DER installation will backfeed. | 3.571% |  | Island Event Contribution
(C) | 0.0067857 | Multiply (B) by likelihood that an injury will be caused to restoration workforce operating unknowingly on energized conductors | 0.01% |  | 0.65257 | contIE
147.3684
GP Injury - Overload circuits with DER-source energy
(A) | 260 | Estimates based on OMS Data |  | Unmitigated
(B) | 0.26 | Multiply (A) by assumed percentage of circuits which could island during an outage because of islanding | 0.1% | 10% | Overload contribution |  | 289
(C) | 2.6e-05 | Multiply (B) by likelihood that an injury will be caused to restoration workforce operating unknowingly on energized conductors | 0.01% |  | 0.0025004 | contOL | 258
| 38461.5385 | [5 empty] | 267
262
| 0.002574 | [5 empty] | 260
| 0.0026 | [5 empty] | 328
320
| Combined Likelihood | [5 empty] | 207
| 0.010398 | [5 empty] | 204
233
230

## Factor A Estimates
Annual SDFD Fire Response | 5639
San Diago Population | 1356000
SDGE People Served | 3600000
Estimated Fire Calls | 14971

## Factor B Estimates
Weekly detection rate: | 80
| Fraction | Resolution (Weeks) | Week
Touch 1 - Robocall | 25% | 4 | 1 | 80
Touch 2 - Hard Letter | 25% | 5 | 2 | 80
Touch 3 - Certified Letter | 25% | 6 | 3 | 80
Touch 4 - Utility Visit | 25% | 7 | 4 | 80
Touch 5 - Disconnect | 0% | 8 | 5 | 60
|  |  | 6 | 40
|  |  | 7 | 20
Total | 440 |  | 8 | 0
SDGD Meters: | 1400000 |  | 9 | 0
|  |  | 10 | 0
B Factor: | 0.00031429

## Factor C Estimates
Estimate: | 0.07623% | Probabilty that a firefighter will receive and injury when encountering a rogue DER device
| 190 | US Firefighter annual electrical injuries (NFPA)
| 498500 | US annual structure fires (NFPA)
| 0.03811% | Probability of structure fires causing electrical injuries
| 2 | Multiplier for electrical injury due to unreported DER device
| 0.07623% | Probability of a firefighter receiving and electrical injury, Assuming unreported DER device raises the probablity by: |  |  | 2 | times nominal
|  | Even if a firefighter was | 2 | times more likely to experience an electrical injury when encountering a DER device than under normal circumstances, that likelihood would still only be: |  |  | 0.07623%