## Cover Page
2016 Risk Assessment Mitigation Phase
Investigation 16-10-015
Risk Spend Efficiency Workpapers to
Major Disturbance to Electrical Service (e.g., Blackout)
(Chapter SDG&E-5-WP-RSE)
January 2017

## Analysis
Risk: | SDGE - Major Disturbance to Electrical Service (e.g. Blackout)
Baseline Residual Risk
Adjustment Factor | Score Category | Original | Original Baseline
1 | Frequency | 0.018257 | 44548.1013
| Safety Consequence | 6
| Reliability Consequence | 7
| Compliance Consequence | 5
| Financial Consequence | 5
[14 empty] | Baseline | 0.018257 | 6 | 7 | 5 | 5
[8 empty] | (000s) | [7 empty] | 40% | 20% | 20% | 20% | New Consequence Scores, weighted | [10 empty] | Ordered Mitigations | Ordered Cumulative Score | Ordered Cumulative Cost | RSE | Risk
| Controls | Enable |  |  | Project ID | Name | Description | Capital Cost (2017-2019) | OM Cost (2017-2019 average) | Annuity | New/Existing | Life of the Project | Rationale | Frequency % | New Frequency | Safety | Reliability | Compliance | Financial | Safety | Reliability | Compliance | Financial | New Score | New Score (for life of project) | Mitigation Weight | Calibrated, Weighted New Score | Cost | RSE | Rank |  | 0 | 0
| Adjusted Baseline | 0 |  | 2016-10-17 | B1 | Operation Planning | • System Impact Studies of Major Outage Events • Coordination of transmission protection schemes with neighboring utilities - annual updates to the under-frequency load shedding program within WECC requirements. • Participate in Inter-Utility Regional Studies and Reliability Councils & Standard Development | 0 | -1029 | 0 | Existing | 1 | Moved from its current location to the worst of the 2nd quartile. Industry research of EIA data indicates that if SDG&E were not currently conducting operation planning activities, the likelihood of a blackout would be 112.3% higher. This result was obtained by identifying the number of major disturbance events (EIA data) affecting more than 50,000 customers, per person, per state. California was ranked in the 2nd quartile. A drop of 112.3% would place California at the very bottom of the 2nd quartile. | -112.27 | 0.038755 | 0 | 0 | 0 | 0 | 400000 | 2000000 | 20000 | 20000 | 94562.2547 | -50014.1534 |  | -50014.1534 | -1029 | 48.6046 | 2 | B2 | 3608396.2088 | 60030 | 60.1099 | B2 - Monitoring and Control
| Weights on Each Mitigation | 0 |  | 2016-10-17 | B2 | Monitoring and Control | • Real time operation • Synchrophasor Project EMS maintenance | -12780 | -1575 | -1135.2146 | Existing | 30 | SDG&E: Not doing this mitigation will increase the blackout likelihood risk from a 2 to 4 over 10 years. | -270 | 0.067552 | 0 | 0 | 0 | 0 | 400000 | 2000000 | 20000 | 20000 | 164827.975 | -3608396.2088 |  | -3608396.2088 | -60030 | 60.1099 | 1 | B1 | 3658410.3622 | 61059 | 48.6046 | B1 - Operation Planning
| Annuity instead of Capital Cost | 0 |  | 2016-10-17 | B3 (P1) | Ongoing Transmission Projects/Planning | • 10-year transmission plan Studies • Talega Synchronous Condensers (COMPLETED) • San Luis Rey Synchronous Condensers • San Onofre Synchronous Condenser • Miguel Synchronous Condensers • Suncrest Static Var Compensator • TL23071: Sycamore Canyon - Penasquitos 230 kV Line • South Orange County Reliability Project • Imperial Valley Flow Control Device • 2nd Miguel to Bay Blvd 230 kV line • New Mission - Penasquitos 230 kV Line • Artesian East 230 kV Expansion with 69 kV upgrades | -425064 | 0 | -34745.9463 | Existing | 50 | Due to this effort, the risk on the system moves from an N-2 to an N-3, which would require an additional failure to blackout. Assuming this failure occurs at a 1-10% rate, these efforts reduce the risk by a factor of 10-100. That is, an N-2 scenario is 10-100 times more likley than an N-3 scenario. Without these measures, the likelihood score would move from a 2 to a 4. | -900 | 0.18257 | 0 | 0 | 0 | 0 | 400000 | 2000000 | 20000 | 20000 | 445481.0134 | -20046645.6047 |  | -20046645.6047 | -425064 | 47.1615 | 3 | B3 (P1) | 23705055.9669 | 486123 | 47.1615 | B3 (P1) - Ongoing Transmission Projects/Planning
| Adjustment Factor | 1 |  | 2016-10-17 | P2 | System Modernization | • Transmission Energy Management System Modernization Project | 14629 | 0 | 1299.4565 | New | 30 | This estimate corresponds to the SME estimate provided in the fail to blackstart risk, that the likelihood of a blackout will be reduced by 10% | 10 | 0.016432 | 0 | 0 | 0 | 0 | 400000 | 2000000 | 20000 | 20000 | 40093.2912 | 133644.304 |  | 133644.304 | 14629 | 9.1356 | 4 | P2 | 23838700.2709 | 500752 | 9.1356 | P2 - System Modernization
| Probability |  | Description
| 7 | 31.6228 | >10 times per year
| 6 | 3.1623 | 1-10 times per year
| 5 | 0.57735 | Once every 1-3 years
| 4 | 0.18257 | Once every 3-10 years
| 3 | 0.057735 | Once every 10-30 years
| 2 | 0.018257 | Once every 30-100 years
| 1 | 0.0057735 | Once every 100+ years
Control Levers
[6 empty] | Transmission Planning | Not doing these will move the likelihood from a 2 to a (4 or 5): | 4 | Once every 3-10 years
[6 empty] | B1 | Not doing B1 and B2 would move california into this quartile, in terms of numbers of blackouts >50,000 customers per person per state (3rd or 4th): | 3rd

## Electric Disturbance Event Data
State | Major Disturbance Events, >50,000, per state population
DC | 1.6363e-05 |  |  |  | https://www.eia.gov/electricity/data/disturbance/disturb_events_archive.html
WV | 1.4641e-05
ME | 1.4293e-05
RI | 1.136e-05
VT | 1.1181e-05
MI | 9.8765e-06
MS | 9.0231e-06
MD | 8.4909e-06
DE | 8.4572e-06
NH | 8.2669e-06
LA | 8.1358e-06
AR | 8.0585e-06
AL |  | 7.2032e-06
VA |  | 7.1573e-06
IN |  | 6.949e-06
KY |  | 5.8756e-06
CT |  | 5.5697e-06
NC |  | 5.0783e-06
PA |  | 4.8428e-06
SC |  | 4.6976e-06
OH |  | 4.5637e-06
GA |  | 4.2096e-06
WA |  | 4.1839e-06
IL |  |  | 4.1213e-06
OK |  |  | 3.5793e-06
TN |  |  | 3.3332e-06
TX |  |  | 3.24e-06
MA |  |  | 3.238e-06
NJ |  |  | 3.0141e-06
MO |  |  | 2.7944e-06
HI |  |  | 2.7941e-06
MN |  |  | 2.186e-06
NY |  |  | 2.0711e-06 |  |  | -1.1237
CA |  |  | 1.9415e-06
ID |  |  | 1.8128e-06
FL |  |  |  | 1.7759e-06
OR |  |  |  | 1.7374e-06
KS |  |  |  | 1.7172e-06
IA |  |  |  | 1.2805e-06
NE |  |  |  | 1.0547e-06
NM |  |  |  | 9.5918e-07
AZ |  |  |  | 8.7873e-07
WI |  |  |  | 8.6635e-07
UT |  |  |  | 6.6757e-07
CO |  |  |  | 5.498e-07
NV |  |  |  | 3.4592e-07
| 1.0679e-05 | 5.4846e-06 | 2.8438e-06 | 1.0758e-06
| California | 1.9415e-06
| 3rd Quartile Average | 5.4846e-06
| California would need to fall by: | -112.3%

## Reference (hidden)
| 1 - Risk Starting Value Lookup Question | AA1 Frequency | AA2 Safety Consequence | AA3 Reliability Consequence | AA4 Compliance Consequence | AA5 Financial Consequence | AA6 Baseline Risk Score | Calculated Baseline | Probability |  | Description | Consequence
1 | SCG - Cyber Security | 0.18257 | 4 | 6 | 5 | 5 | 44548.1013 | 44548.1013 | 7 | 31.6228 | >10 times per year | 7 | 10000000
2, 8 | SDGE - Climate Change Adaptation | 0.057735 | 4 | 5 | 4 | 5 | 2655.8112 | 2655.8112 | 6 | 3.1623 | 1-10 times per year | 6 | 1000000
3 | SCG - Employee, Contractor, Customer and Public Safety | 0.57735 | 6 | 4 | 3 | 4 | 233364.9788 | 233364.9788 | 5 | 0.57735 | Once every 1-3 years | 5 | 100000
4 | SCG - Records Management | 0.057735 | 5 | 5 | 5 | 4 | 4734.2722 | 4734.2722 | 4 | 0.18257 | Once every 3-10 years | 4 | 10000
5 | SCG - Workforce Planning | 0.57735 | 4 | 4 | 4 | 4 | 5773.5027 | 5773.5027 | 3 | 0.057735 | Once every 10-30 years | 3 | 1000
6 | SCG - Workplace Violence | 0.057735 | 6 | 1 | 2 | 3 | 23106.8279 | 23106.8279 | 2 | 0.018257 | Once every 30-100 years | 2 | 100
7 | SDGE - Cyber Security | 0.18257 | 4 | 6 | 5 | 5 | 44548.1013 | 44548.1013 | 1 | 0.0054772 | Once every 100+ years | 1 | 10
9 | SDGE - Employee, Contractor & Public Safety | 0.18257 | 6 | 4 | 4 | 3 | 73796.4859 | 73796.4859
10 | SDGE - Records Management | 0.057735 | 5 | 5 | 5 | 4 | 4734.2722 | 4734.2722 | Weights
11 | SDGE - Workforce Planning | 0.057735 | 4 | 3 | 3 | 2 | 255.1888 | 255.1888 | 40% | Safety
12 | SDGE - Workplace Violence | 0.057735 | 6 | 1 | 2 | 3 | 23106.8279 | 23106.8279 | 20% | Reliability
13 | SDGE - Aviation Incident | 0.057735 | 6 | 2 | 2 | 3 | 23107.8672 | 23107.8672 | 20% | Compliance
14 | SDGE - Distributed Energy Resources (DERs) Safety and Operational Concerns | 0.18257 | 6 | 3 | 3 | 3 | 73139.2188 | 73139.2188 | 20% | Financial
15 | SDGE - Electric Infrastructure Integrity | 0.18257 | 4 | 4 | 5 | 4 | 5112.0772 | 5112.0772
16 | SDGE - Fail to Black Start | 0.018257 | 6 | 7 | 5 | 5 | 44548.1013 | 44548.1013
17 | SDGE - Major Disturbance to Electrical Service (e.g. Blackout) | 0.018257 | 6 | 7 | 5 | 5 | 44548.1013 | 44548.1013
18 | SDGE - Public Safety Events - Electric | 0.057735 | 5 | 3 | 3 | 3 | 2344.0421 | 2344.0421
19 | SDGE - Unmanned Aircraft System (UAS) Incident | 0.018257 | 6 | 4 | 3 | 4 | 7379.6486 | 7379.6486
20 | SDGE - Wildfires caused by SDG&E Equipment (including 3rd Party Pole Attachments) | 0.57735 | 7 | 6 | 5 | 6 | 2551888.1898 | 2551888.1898
21 | SCG - Catastrophic Damage involving Gas Infrastructure (Dig-Ins) | 0.57735 | 6 | 4 | 3 | 4 | 233364.9788 | 233364.9788
22 | SCG - Catastrophic Damage Involving Gas Transmission Pipeline Failure | 0.057735 | 6 | 5 | 5 | 6 | 36950.4172 | 36950.4172
23 | SCG - Catastrophic Damage involving Medium and Non-DOT Pipeline Failure | 0.057735 | 5 | 3 | 3 | 3 | 2344.0421 | 2344.0421
24 | SCG - Catastrophic Event related to Storage Well Integrity | 0.018257 | 5 | 5 | 5 | 5 | 1825.7419 | 1825.7419
25 | SCG - Physical Security of Critical Infrastructure | 0.057735 | 5 | 6 | 4 | 4 | 14087.3466 | 14087.3466
26 | SDGE - Catastrophic Damage involving Gas Infrastructure (Dig-Ins) | 0.57735 | 6 | 4 | 3 | 4 | 233364.9788 | 233364.9788
27 | SDGE - Catastrophic Damage Involving Gas Transmission Pipeline Failure | 0.018257 | 6 | 4 | 5 | 6 | 11356.1144 | 11356.1144
28 | SDGE - Catastrophic Damage Involving Medium and non-DOT Pipeline Failure | 0.057735 | 5 | 3 | 3 | 3 | 2344.0421 | 2344.0421
| SDGE - Violation of Environmental Policies/Procedures | 0.057735 | 4 | 1 | 5 | 4 | 1501.2262 | 1501.2262