## Read_Me
This file contains a summary by quarter of SPC projects.
SPC by measure shows the break-down of savings by measure and the KW per KWH
The values are slightly different from the numbers used in the 2007 Q4 E3s due to an inconsistency in the data used and it was too late to correct.
These data are the most updated values as of 2/28/2008

## SPC_by_Measure
ENRGY_DIV_REF_NBR | PGM_CD | SumOfGR_SV_KW | SumOfGR_SV_KWH | SumOfGR_SV_THERM | MSR_DESC | SAP Year | Quarter
SDGE3025 | SPC | 0 | 0 | 65922 | CUSTOM - Gas | 2006 | 3
SDGE3025 | SPC | 0 | 0 | 19649 | CUSTOM - Gas | 2006 | 4
SDGE3025 | SPC | 0 | 0 | 57619 | CUSTOM - Gas | 2007 | 1
SDGE3025 | SPC | 0 | 0 | 36360 | CUSTOM - Gas | 2007 | 2
SDGE3025 | SPC | 0 | 0 | 34912 | CUSTOM - Gas | 2007 | 3
SDGE3025 | SPC | 0 | 0 | 38306 | CUSTOM - Gas | 2007 | 4
252768
SDGE3025 | SPC | 291.7 | 1314854 | 0 | CUSTOM - Lighting | 2006 | 3
SDGE3025 | SPC | 199.4 | 1197864 | 0 | CUSTOM - Lighting | 2006 | 4
SDGE3025 | SPC | 174.7 | 1081004 | 0 | CUSTOM - Lighting | 2007 | 1
SDGE3025 | SPC | 200.48 | 1155818 | 0 | CUSTOM - Lighting | 2007 | 2
SDGE3025 | SPC | 179.32 | 1153873.8 | 0 | CUSTOM - Lighting | 2007 | 3
SDGE3025 | SPC | 206 | 1321451 | 0 | CUSTOM - Lighting | 2007 | 4
|  | 1251.6 | 7224864.8
|  | 0.00017324 | <=KW/KWH
SDGE3025 | SPC | 69.7 | 216269 | 0 | CUSTOM - HVAC | 2006 | 2
SDGE3025 | SPC | 59.8 | 202794 | 0 | CUSTOM - HVAC | 2006 | 3
SDGE3025 | SPC | 41.4 | 223772 | 0 | CUSTOM - HVAC | 2006 | 4
SDGE3025 | SPC | 99.6 | 1351420 | 0 | CUSTOM - HVAC | 2007 | 1
SDGE3025 | SPC | 226.2 | 1357949 | 0 | CUSTOM - HVAC | 2007 | 2
SDGE3025 | SPC | 127.6 | 573695 | 0 | CUSTOM - HVAC | 2007 | 3
SDGE3025 | SPC | 216.5 | 1519409 | 0 | CUSTOM - HVAC | 2007 | 4
|  | 840.8 | 5445308
|  | 0.00015441 | <=KW/KWH
SDGE3025 | SPC | 18.5 | 155439 | 0 | CUSTOM - Other | 2006 | 2
SDGE3025 | SPC | 49.75 | 157898 | 0 | CUSTOM - Other | 2006 | 3
SDGE3025 | SPC | 36.59 | 358021 | 0 | CUSTOM - Other | 2006 | 4
SDGE3025 | SPC | 31.25 | 691957 | 0 | CUSTOM - Other | 2007 | 1
SDGE3025 | SPC | 369.88 | 1967079 | 0 | CUSTOM - Other | 2007 | 2
SDGE3025 | SPC | 109.5 | 1578382.9 | 0 | CUSTOM - Other | 2007 | 3
SDGE3025 | SPC | 130.25 | 1390756 | 0 | CUSTOM - Other | 2007 | 4
|  | 745.72 | 6299532.9
|  | 0.00011838 | <=KW/KWH

## SPC
ENRGY_DIV_REF_NBR | PGM_CD | SumOfGR_SV_KW | SumOfGR_SV_KWH | SumOfGR_SV_THERM | MSR_DESC | SAP Year | Quarter
SDGE3025 | SPC | 0 | 0 | 65922 | CUSTOM - Gas | 2006 | 3
SDGE3025 | SPC | 0 | 0 | 19649 | CUSTOM - Gas | 2006 | 4
SDGE3025 | SPC | 0 | 0 | 57619 | CUSTOM - Gas | 2007 | 1
SDGE3025 | SPC | 0 | 0 | 36360 | CUSTOM - Gas | 2007 | 2
SDGE3025 | SPC | 0 | 0 | 34912 | CUSTOM - Gas | 2007 | 3
SDGE3025 | SPC | 0 | 0 | 38306 | CUSTOM - Gas | 2007 | 4
SDGE3025 | SPC | 291.7 | 1314854 | 0 | CUSTOM - Lighting | 2006 | 3
SDGE3025 | SPC | 199.4 | 1197864 | 0 | CUSTOM - Lighting | 2006 | 4
SDGE3025 | SPC | 174.7 | 1081004 | 0 | CUSTOM - Lighting | 2007 | 1
SDGE3025 | SPC | 200.48 | 1155818 | 0 | CUSTOM - Lighting | 2007 | 2
SDGE3025 | SPC | 179.32 | 1153873.8 | 0 | CUSTOM - Lighting | 2007 | 3
SDGE3025 | SPC | 206 | 1321451 | 0 | CUSTOM - Lighting | 2007 | 4
SDGE3025 | SPC | 69.7 | 216269 | 0 | CUSTOM - HVAC | 2006 | 2
SDGE3025 | SPC | 59.8 | 202794 | 0 | CUSTOM - HVAC | 2006 | 3
SDGE3025 | SPC | 41.4 | 223772 | 0 | CUSTOM - HVAC | 2006 | 4
SDGE3025 | SPC | 99.6 | 1351420 | 0 | CUSTOM - HVAC | 2007 | 1
SDGE3025 | SPC | 226.2 | 1357949 | 0 | CUSTOM - HVAC | 2007 | 2
SDGE3025 | SPC | 127.6 | 573695 | 0 | CUSTOM - HVAC | 2007 | 3
SDGE3025 | SPC | 216.5 | 1519409 | 0 | CUSTOM - HVAC | 2007 | 4
SDGE3025 | SPC | 18.5 | 155439 | 0 | CUSTOM - Other | 2006 | 2
SDGE3025 | SPC | 49.75 | 157898 | 0 | CUSTOM - Other | 2006 | 3
SDGE3025 | SPC | 36.59 | 358021 | 0 | CUSTOM - Other | 2006 | 4
SDGE3025 | SPC | 31.25 | 691957 | 0 | CUSTOM - Other | 2007 | 1
SDGE3025 | SPC | 369.88 | 1967079 | 0 | CUSTOM - Other | 2007 | 2
SDGE3025 | SPC | 109.5 | 1578382.9 | 0 | CUSTOM - Other | 2007 | 3
SDGE3025 | SPC | 130.25 | 1390756 | 0 | CUSTOM - Other | 2007 | 4
| Total Gross | 2838.12 | 18969705.7 | 252768
| Total Net: | 1986.684 | 13278793.99 | 176937.6